## Sheet1
Note 1:
14C isotope ratios are given as fraction modern (F14C), which is the fraction with respect to the standard isotope ratio including
normalization for δ13C (e.g. Reimers et al., Radiocarbon 46 (2004) 1299.
These values are quoted as 14aN by W.G. Mook and J. van der Plicht, Radiocarbon 41 (1999) 227.
Note 2:
Common alternative parameterization of the 14C concentrations are pMC (percent modern Carbon) and the
"conventional radiocarbon age". The conventional radiocarbon age is equal to -8033 * ln(F14C), but not the real age.
pMC can be calculated from F14C by multiplying with 100. Note, the uncertainties of pMC are analogeous those of F14C
also multiplied by a factor 100.
Note 3:
For the determination of the calendar ages programs like e.g. OxCal or Calib have to be used. In this case the use of F14C
instead of the conventional age is recommanded (easier with respect to the uncertainty).
Note 4:
The depletion Δ14C is, in contrast to F14C, additionally corrected for the decay between 1950 and the measurement time
(M. Stuiver and H. Polach, Radiocarbon 19 (1977) 355). These values are quoted as "14δsN" by W.G. Mook and
J. van der Plicht, Radiocarbon 41 (1999) 227.
Note 5:
The quoted uncertainties are based on the statistical uncertainty of the number of 14C counts, the scattering of the
single measurements of the respective sample, plus a contribution from the calibration by the standards
(A. Steinhof, Radiocarbon 55 (2013) 282). Not included is an additional (machine-dependent) contribution.
P-Nr. | Probe | F14C | err | ∆14C (‰) | err (‰) | remark
23750 | BSwf_2_0-10_Sierra Nevada_2001 | 1.0573 | 0.0029 | 48.4 | 2.9
23751 | BSwf_2_10-19_Sierra Nevada_2001 | 1.0246 | 0.0028 | 16 | 2.8
23752 | BSwf_2_19-40_Sierra Nevada_2001 | 0.9416 | 0.0026 | -66.3 | 2.6
23753 | BSwf_2_40-60_Sierra Nevada_2001 | 0.9124 | 0.0023 | -95.3 | 2.3
23754 | BSwf_3_0-10_Sierra Nevada_2001 | 1.0531 | 0.0026 | 44.2 | 2.6
23755 | BSwf_3_10-19_Sierra Nevada_2001 | 1.0355 | 0.0027 | 26.7 | 2.7
23756 | BSwf_3_19-40_Sierra Nevada_2001 | 0.9469 | 0.0026 | -61.1 | 2.6