## Methods
13C: samples were extracted with 60 ml syringe and injected in He flushed Exetainers (flushed for 30min at 30ml/min), two blanks of calibration gas were done
14C: samples were taken with evacuated Restek containers

## Sieving
Number | Sample Name | Depth [cm] | Sampling Date | Sample <2mm [g] | Bag [g] | Field sample [g] | Bag [g] | Sieving rest [g] |  | Water loss [g] | Water loss [%]
| HEW22 | 10 |  | 489.7 |  | 517.74 |  | 22.6 | 495.14 | 5.44 | 1.0987
| HEW41 | 10 |  | 554.6 |  | 576.35 |  | 14.4 | 561.95 | 7.35 | 1.3079
| HEW42 | 10 |  | 622.7 |  | 634.3 |  | 6.4 | 627.9 | 5.2 | 0.82816
| HEG10 | 10 |  | 622.6 |  | 672.4 |  | 35.2 | 637.2 | 14.6 | 2.2913
| HEG32 | 10 |  | 627.7 |  | 658.98 |  | 20.75 | 638.23 | 10.53 | 1.6499
| HEG48 | 10 |  | 632.4 |  |  |  | 30.7

## Dryweights
Number | Sample | glas empty [g] | glas with soil [g] | fresh weight [g] | glas 105°C [g] | water weight [g] | water content [%] | drymatter content | TOC [%] | IC [%] | IC-corr [%] | OC [%] | OC-corr [%] | OC-corr [g/kg] | TN[%] | TN-corr [%] | TN-corr [g/kg] | CN-ratio (corr)
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | 0 | #DIV/0! | #DIV/0! |  |  | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!

## WHC
Sample |  | weight of glass | dry weight | fresh weight | dry weight | weight | gravimetric | dry matter content | weight of Falcon tube | fresh weight (brutto) | fresh weight (netto) | dry weight (netto) | weight 100%WHC(brutto) | weight 100%WHC(netto) | WHCmax fresh sample [%] | factor WHC 60% | OC | sample weight (dry) | water addition for 60% WHC
[5 empty] | with glass | water | water content |  |  | with Falcon Tube | without Falcon Tube | without Falcon Tube | with Falcon Tube | without Falcon tube
|  | [g] | (105°C) [g] | [g] | (105°C) [g] | [g] | (105°C) [%] | [%] | [g] | [g] | [g] | [g] | [g] | [g] |  |  | [%] | [g] | [g]
Field | HEW22 | 47.8 | 6.84 | 8.14 | 54.64 | 1.3 | 15.97% | 84.03% | 10.426 | 25.092 | 14.666 | 12.3238 | 31.596 | 21.17 | 26.48% | 1.2022 |  | 24 | 4.8529 | 1
Field | HEW41 | 53.54 | 6.1 | 7.47 | 59.64 | 1.37 | 18.34% | 81.66% | 10.396 | 25.493 | 15.097 | 12.3282 | 32.165 | 21.769 | 29.33% | 1.1918 |  | 25 | 4.7951 | 2
Field | HEW42 | 51.18 | 8.02 | 9.77 | 59.2 | 1.75 | 17.91% | 82.09% | 10.424 | 26.014 | 15.59 | 12.7975 | 30.97 | 20.546 | 36.04% | 1.1191 |  | 24.5 | 2.9177 | 3
Field | HEG10 | 52.25 | 5.45 | 7.08 | 57.7 | 1.63 | 23.02% | 76.98% | 10.405 | 26.393 | 15.988 | 12.3071 | 33.267 | 22.862 | 34.87% | 1.1659 |  | 26 | 4.3128 | 4
Field | HEG32 | 48.77 | 6.58 | 7.92 | 55.35 | 1.34 | 16.92% | 83.08% | 10.359 | 25.81 | 15.451 | 12.8368 | 32.561 | 22.202 | 27.91% | 1.1945 |  | 24 | 4.6675 | 5
Field | HEG48 | 49.03 | 5.83 | 7.24 | 54.86 | 1.41 | 19.48% | 80.52% | 10.426 | 26.59 | 16.164 | 13.016 | 33.45 | 23.024 | 31.45% | 1.1767 |  | 25 | 4.4185 | 6
Dried | HEW22 | 53.549 | 10.002 | 10.001 | 63.551 | -0.001 | -0.009999% | 100% | 10.426 | 10.445 | 16.422 | 16.4236 | 36.966 | 26.54 | -0.01623% | 1.3697 |  | 20 | 7.3943 | 7
Dried | HEW41 | 52.242 | 10.41 | 10.409 | 62.652 | -0.001 | -0.009607% | 100% | 10.396 | 10.525 | 14.781 | 14.7824 | 35.16 | 24.764 | -0.01423% | 1.4053 |  | 20 | 8.1055 | 8
Dried | HEW42 | 49.024 | 10.021 | 10.02 | 59.045 | -0.001 | -0.00998% | 100% | 10.424 | 10.454 | 15.047 | 15.0485 | 34.933 | 24.509 | -0.01587% | 1.3773 |  | 20 | 7.5468 | 9
Dried | HEG10 | 47.802 | 10.386 | 10.384 | 58.188 | -0.002 | -0.01926% | 100% | 10.405 | 10.655 | 15.047 | 15.0499 | 36.795 | 26.39 | -0.02556% | 1.4524 |  | 20 | 9.0476 | 10
Dried | HEG32 | 51.18 | 10.504 | 10.503 | 61.684 | -0.001 | -0.009521% | 100% | 10.359 | 10.554 | 15.86 | 15.8615 | 36.821 | 26.462 | -0.01425% | 1.4011 |  | 20 | 8.0225 | 11
Dried | HEG48 | 48.772 | 10.971 | 10.97 | 59.743 | -0.001 | -0.009116% | 100% | 10.426 | 10.343 | 14.924 | 14.9254 | 35.161 | 24.735 | -0.01387% | 1.3945 |  | 20 | 7.8895 | 12
equivalent of dry soil approved by Jeff
[17 empty] | 24 | 20.1671
[17 empty] | 25 | 20.415
[17 empty] | 24.5 | 20.1116
[17 empty] | 26 | 20.0141
[17 empty] | 24 | 19.9394
[17 empty] | 25 | 20.1312

## CO2 Template
Date:
| Time | Volume | Peak area (Int) | Peak height (Int Max)
5,0
4,4
4,0
3,4
3,0
2,4
2,0
1,4
1,0
0,4
0.2
0.1

## Leakage
# | Sample | P_Jar | Leakage | Time |  | P_Jar | Leakage | Time
1 |  |  |  |  | 31
2 |  |  |  |  | 32
3 |  |  |  |  | 33
4 |  |  |  |  | 34
5 |  |  |  |  | 35
6 |  |  |  |  | 36
7 |  |  |  |  | 37
8 |  |  |  |  | 38
9 |  |  |  |  | 39
10 |  |  |  |  | 40
11 |  |  |  |  | 41
12 |  |  |  |  | 42
13 |  |  |  |  | 43
14 |  |  |  |  | 44
15 |  |  |  |  | 45
16 |  |  |  |  | 46
17 |  |  |  |  | 47
18 |  |  |  |  | 48
19 |  |  |  |  | 49
20 |  |  |  |  | 50
21 |  |  |  |  | 51
22 |  |  |  |  | 52
23 |  |  |  |  | 53
24 |  |  |  |  | 54
25 |  |  |  |  | 55
26 |  |  |  |  | 56
27 |  |  |  |  | 57
28 |  |  |  |  | 58
29 |  |  |  |  | 59
30 |  |  |  |  | 60

## jar_information
Name | Date | P_sample | P_leakage_S | P_atm | mean_V_pump | V_sample | P_std_jar | P_diff_zero | V_std_jar | V_pump | Start_Date_Incubation | Preincubation
|  | [hPa] | [hPa] | [hPa] | [ml] | [ml] | [hPa] | [hPa] | [ml] | [ml]
1_GRrf-L_1 |  | 330 |  | 990 | 2261.1111 | 1130.5556 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
2_GRrf-L_2 |  | 327 |  | 990 | 2261.1111 | 1115.2086 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
3_GRwf-L_1 |  | 333 |  | 990 | 2261.1111 | 1146.0426 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
4_GRwf-L_2 |  | 330 |  | 990 | 2261.1111 | 1130.5556 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
5_GRpp-L_1 |  | 326 |  | 990 | 2261.1111 | 1110.1238 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
6_GRpp-L_2 |  | 327 |  | 990 | 2261.1111 | 1115.2086 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
7_ANrf-L_1 |  | 328 |  | 990 | 2261.1111 | 1120.3088 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
8_ANrf-L_2 |  | 333 |  | 990 | 2261.1111 | 1146.0426 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
9_ANwf-L_1 |  | 330 |  | 990 | 2261.1111 | 1130.5556 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
10_ANwf-L_2 |  | 326 |  | 990 | 2261.1111 | 1110.1238 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
11_ANpp-L_1 |  | 326 |  | 990 | 2261.1111 | 1110.1238 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
12_ANpp-L_2 |  | 330 |  | 990 | 2261.1111 | 1130.5556 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
13_BSrf-L_1 |  | 326 |  | 990 | 2261.1111 | 1110.1238 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
14_BSrf-L_2 |  | 330 |  | 990 | 2261.1111 | 1130.5556 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
15_BSwf-L_1 |  | 326 |  | 990 | 2261.1111 | 1110.1238 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
16_BSwf-L_2 |  | 327 |  | 990 | 2261.1111 | 1115.2086 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
17_BSpp-L_1 |  | 327 |  | 990 | 2261.1111 | 1115.2086 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00
18_BSpp-L_2 |  | 326 |  | 990 | 2261.1111 | 1110.1238 | 324 |  | 1100 | 2261.1111 | 2019-11-11 13:30 | 2019-11-08 16:00

## 12.11.19
inj. volume | Date | CO2 conc. | peak area | peak height | inj. Vol. CO2
ml | dd/mm/yyyy | ppm (µl l-1) | units | units | µl
5 | 2019-11-12 | 2992 | 1679.8 | 435.37 | 14.96
4.4 | 2019-11-12 | 2992 | 1492 | 417.53 | 13.1648
4 | 2019-11-12 | 2992 | 1358.1 | 389.61 | 11.968
3.4 | 2019-11-12 | 2992 | 1192.3 | 328.86 | 10.1728
3 | 2019-11-12 | 2992 | 1046.2 | 304.22 | 8.976
2.4 | 2019-11-12 | 2992 | 872.95 | 236.47 | 7.1808
2 | 2019-11-12 | 2992 | 733.07 | 209.84 | 5.984 | Slope_area |  | 0.0088432
1.4 | 2019-11-12 | 2992 | 505.08 | 155.37 | 4.1888 | intercept_area |  | -0.18126
1 | 2019-11-12 | 2992 | 363.13 | 114.08 | 2.992
0.4 | 2019-11-12 | 2992 | 142.86 | 45.295 | 1.1968 | slope_peak |  | 0.032788
0.2 | 2019-11-12 | 2992 | 66.722 | 22.084 | 0.5984 | intercept_peak |  | -0.48902
0.1 | 2019-11-12 | 2992 | 30.386 | 11.461 | 0.2992
Sample site | End_Date | Volume | peak area | peak height | CO2 Volume (area) | CO2 Volume (height) | Time | Start_Date | Incubation/Dur. | Incubation/Dur. | Jar volume | CO2 | CO2/jar | C/jar | C/Canister | C retrieval | C retrieval | C retrieval | ppm CO2 | % CO2 | C production
no | dd/mm/yyyy hh:mm | ml | units | units | ml CO2/ml Air | ml CO2/ml Air |  | hours | days | hours | ml | ml | mg | mg | mg | mbar | mg | % |  |  | mg/h
1_GRrf-L_1 | 2019-11-12 12:00 | 0.4 | 795.91 | 216.16 | 0.017143 | 0.016496 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1130.5556 | 19.381 | 35.4672 | 9.6729 | 2.5279 | 652.5 | 2.0734 | 82.0196 | 17142.8722 | 1.7143 | 0.42991 | 13C/14C sampling on 12.11.2019; 13:30-15:00
2_GRrf-L_2 | 2019-11-12 12:00 | 0.4 | 506.33 | 141.03 | 0.010741 | 0.010338 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1115.2086 | 11.9783 | 21.9202 | 5.9782 | 1.5782 | 584.6 | 1.8576 | 117.7067 | 10740.8226 | 1.0741 | 0.2657 | 13C/14C sampling on 12.11.2019; 13:30-15:00
3_GRwf-L_1 | 2019-11-12 12:00 | 0.4 | 577.65 | 171.52 | 0.012318 | 0.012837 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1146.0426 | 14.1165 | 25.8331 | 7.0454 | 1.8228 | 496 | 1.5761 | 86.4651 | 12317.5688 | 1.2318 | 0.31313 | 13C/14C sampling on 12.11.2019; 13:30-15:00
4_GRwf-L_2 | 2019-11-12 12:00 | 0.4 | 554.91 | 166.17 | 0.011815 | 0.012398 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1130.5556 | 13.3573 | 24.4439 | 6.6665 | 1.7422 | 511.05 | 1.6239 | 93.2087 | 11814.8317 | 1.1815 | 0.29629 | 13C/14C sampling on 12.11.2019; 13:30-15:00
5_GRpp-L_1 | 2019-11-12 12:00 | 0.4 | 613.81 | 177.25 | 0.013117 | 0.013307 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1110.1238 | 14.5615 | 26.6475 | 7.2675 | 1.925 | 299 | 0.95011 | 49.3562 | 13116.996 | 1.3117 | 0.323 | 13C/14C sampling on 12.11.2019; 13:30-15:00
6_GRpp-L_2 | 2019-11-12 12:00 | 0.4 | 527.41 | 163.98 | 0.011207 | 0.012219 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1115.2086 | 12.498 | 22.8713 | 6.2376 | 1.6467 | 354 | 1.1249 | 68.3123 | 11206.8603 | 1.1207 | 0.27723 | 13C/14C sampling on 12.11.2019; 13:30-15:00
7_ANrf-L_1 | 2019-11-12 12:00 | 0.4 | 750.9 | 206.52 | 0.016148 | 0.015706 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1120.3088 | 18.0905 | 33.1056 | 9.0288 | 2.3755 | 860.2 | 2.7334 | 115.0652 | 16147.7888 | 1.6148 | 0.40128 | 13C/14C sampling on 12.11.2019; 13:30-15:00
8_ANrf-L_2 | 2019-11-12 12:00 | 0.4 | 670.1 | 181.29 | 0.014361 | 0.013638 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1146.0426 | 16.4588 | 30.1197 | 8.2145 | 2.1253 | 382 | 1.2139 | 57.1149 | 14361.4582 | 1.4361 | 0.36509 | 13C/14C sampling on 12.11.2019; 13:30-15:00
9_ANwf-L_1 | 2019-11-12 12:00 | 0.4 | 415.59 | 130.26 | 0.0087347 | 0.0094548 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1130.5556 | 9.8751 | 18.0714 | 4.9286 | 1.288 | 804.9 | 2.5577 | 198.5696 | 8734.738 | 0.87347 | 0.21905 | 13C/14C sampling on 12.11.2019; 13:30-15:00
10_ANwf-L_2 | 2019-11-12 12:00 | 0.4 | 375.82 | 109.85 | 0.0078555 | 0.0077818 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1110.1238 | 8.7206 | 15.9587 | 4.3524 | 1.1528 | 700 | 2.2243 | 192.9429 | 7855.5008 | 0.78555 | 0.19344 | 13C/14C sampling on 12.11.2019; 13:30-15:00
11_ANpp-L_1 | 2019-11-12 12:00 | 0.4 | 465.27 | 138.97 | 0.0098331 | 0.010169 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1110.1238 | 10.9159 | 19.9761 | 5.448 | 1.4431 | 925.7 | 2.9415 | 203.8384 | 9833.066 | 0.98331 | 0.24213 | 13C/14C sampling on 12.11.2019; 13:30-15:00
12_ANpp-L_2 | 2019-11-12 12:00 | 0.4 | 461.24 | 150.13 | 0.009744 | 0.011084 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1130.5556 | 11.0161 | 20.1595 | 5.498 | 1.4369 | 727 | 2.3101 | 160.7753 | 9743.9705 | 0.9744 | 0.24436 | 13C/14C sampling on 12.11.2019; 13:30-15:00
13_BSrf-L_1 | 2019-11-12 12:00 | 0.4 | 866.98 | 229.53 | 0.018714 | 0.017592 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1110.1238 | 20.775 | 38.0182 | 10.3686 | 2.7464 | 634.7 | 2.0168 | 73.4352 | 18714.0914 | 1.8714 | 0.46083 | 13C/14C sampling on 12.11.2019; 13:30-15:00
14_BSrf-L_2 | 2019-11-12 12:00 | 0.4 | 726.18 | 205.43 | 0.015601 | 0.015616 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1130.5556 | 17.6381 | 32.2777 | 8.803 | 2.3006 | 596.4 | 1.8951 | 82.3755 | 15601.2777 | 1.5601 | 0.39125 | 13C/14C sampling on 12.11.2019; 13:30-15:00
15_BSwf-L_1 | 2019-11-12 12:00 | 0.4 | 583.33 | 179.58 | 0.012443 | 0.013498 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1110.1238 | 13.8134 | 25.2786 | 6.8942 | 1.8261 |  | 0 | 0 | 12443.1426 | 1.2443 | 0.30641 | 13C/14C sampling on 12.11.2019; 13:30-15:00
16_BSwf-L_2 | 2019-11-12 12:00 | 0.4 | 695.14 | 197.69 | 0.014915 | 0.014982 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1115.2086 | 16.6334 | 30.4391 | 8.3016 | 2.1915 |  | 0 | 0 | 14915.0438 | 1.4915 | 0.36896 | 13C/14C sampling on 12.11.2019; 13:30-15:00
17_BSpp-L_1 | 2019-11-12 12:00 | 0.4 | 294.97 | 92.05 | 0.0060681 | 0.0063228 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1115.2086 | 6.7672 | 12.3839 | 3.3774 | 0.89161 |  | 0 | 0 | 6068.0648 | 0.60681 | 0.15011 | 13C/14C sampling on 12.11.2019; 13:30-15:00
18_BSpp-L_2 | 2019-11-12 12:00 | 0.4 | 365.36 | 105.51 | 0.0076243 | 0.0074261 | 12:00 | 2019-11-11 13:30 | 0.9375 | 22.5 | 1110.1238 | 8.4639 | 15.4889 | 4.2242 | 1.1189 |  | 0 | 0 | 7624.2505 | 0.76243 | 0.18774 | 13C/14C sampling on 12.11.2019; 13:30-15:00
1_GRrf-L_1_12112019 | _12112019
2_GRrf-L_2_12112019 | _12112019
3_GRwf-L_1_12112019 | _12112019
4_GRwf-L_2_12112019 | _12112019
5_GRpp-L_1_12112019 | _12112019
6_GRpp-L_2_12112019 | _12112019
7_ANrf-L_1_12112019 | _12112019
8_ANrf-L_2_12112019 | _12112019
9_ANwf-L_1_12112019 | _12112019
10_ANwf-L_2_12112019 | _12112019
11_ANpp-L_1_12112019 | _12112019
12_ANpp-L_2_12112019 | _12112019
13_BSrf-L_1_12112019 | _12112019
14_BSrf-L_2_12112019 | _12112019
15_BSwf-L_1_12112019 | _12112019
16_BSwf-L_2_12112019 | _12112019
17_BSpp-L_1_12112019 | _12112019
18_BSpp-L_2_12112019 | _12112019
Formulas:
Date = B3+[Time]